## FY PLF Summary
JSW Energy - Plant Load Factor (PLF) - Full Year %
Source: 'Operational Performance - PLF' / 'Power Generation' tables from Q4 Results Presentations, FY15-FY25
Note: Figures in () are Deemed PLF. 'LT' = Long Term PPA capacity only; 'Total' = Entire installed capacity
Plant / Metric | Capacity (MW) | Basis | FY15 | FY16 | FY17 | FY18 | FY19 | FY20 | FY21 | FY22 | FY23 | FY24 | FY25
Ratnagiri | 1,200 | LT | n/a | n/a | 64 (70) | 64 (69) | n/a | 74 (93) | 71 (85) | 61 (79) | 60 (87) | 74 (93) | 75 (88)
Ratnagiri | 1,200 | Total | 73 (77) | 80 (85) | 64 (70) | 64 (69) | 76 (79) | 75 (85) | 59 (69) | 57 (73) | 59 (84) | 81 (98) | 82 (94)
Barmer | 1,080 | LT | n/a | n/a | n/a | n/a | n/a | n/a | 74 (82) | 76 (81) | 77 (80) | 75 (78) | 71 (77)
Barmer (Deemed) | 1,080 | Total | 86 | 85 | 84 | 84 | 84 | 82 | 82 | 81 | 80 | 78 | 77
Vijayanagar | 860 | LT | n/a | n/a | n/a | n/a | n/a | n/a | 74 (87) | 100 (100) | 98 (98) | 88 (92) | 112 (114)
Vijayanagar | 860 | Total | 97 | 89 | 59 | 53 | 50 | 40 | 32 (36) | 45 (45) | 51 (51) | 58 (60) | 59 (60)
KSK Mahanadi (acquired 6-Mar-2025) | 1,800 | LT | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 79 (99)
KSK Mahanadi | 1,800 | Total | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 79 (99)
Utkal (Ind-Barath) | 700 | Total | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 63 (70) | 65 (65)
Nandyal | 18 | LT | n/a | n/a | n/a | n/a | n/a | 81 (99) | 71 (97) | 75 (99) | 9 (98) | 60 (100) | 59 (100)
Total Thermal | 3,158 – 5,658 | LT | n/a | n/a | n/a | n/a | n/a | n/a | 73 (84) | 73 (83) | 72 (85) | 76 (86) | 79 (88)
Total Thermal | 3,158 – 5,658 | Total | n/a | n/a | n/a | n/a | n/a | n/a | 57 (65) | 60 (68) | 63 (74) | 66 (73) | 71 (78)
Hydro (Karcham-Wangtoo + Baspa) | 1,345 – 1,391 | Total | n/a | 27 | 50 | 52 | 46 | 53 | 50 | 48 | 48 | 42 | 50
Solar (various) | 9 – 680 | Total | n/a | n/a | n/a | n/a | n/a | 17-18 | 15 | 20 | 22 | 22 | 22
Wind (organic, ex-Mytrah) | 0 – 3,146 | Total | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 30 | 24 | 21
Acquired RE – Wind (Mytrah, acq. Q4FY23) | 1,331 | Total | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 8 | 23 | n/a
Acquired RE – Solar (Mytrah, acq. Q4FY23) | 422 | Total | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 25 | 21 | n/a

## Q4 PLF
JSW Energy - Plant Load Factor (PLF) - Q4 (Quarter only) %
Source: Q4 quarterly column from 'Operational Performance - PLF' tables in Q4 Results Presentations
Note: Figures in () are Deemed PLF. 'LT' = Long Term PPA capacity only; 'Total' = Entire installed capacity
Plant / Metric | Capacity (MW) | Basis | Q4FY15 | Q4FY16 | Q4FY17 | Q4FY18 | Q4FY19 | Q4FY20 | Q4FY21 | Q4FY22 | Q4FY23 | Q4FY24 | Q4FY25
Ratnagiri | 1,200 | LT | n/a | n/a | 41 (47) | 61 (64) | n/a | 76 (90) | 59 (66) | 85 (104) | 71 (98) | 76 (90) | 75 (87)
Ratnagiri | 1,200 | Total | 57 (71) | 87 (92) | 41 (47) | 61 (64) | 76 (80) | 71 (79) | 50 (55) | 57 (69) | 74 (98) | 87 (100) | 82 (93)
Barmer | 1,080 | LT | n/a | n/a | n/a | n/a | n/a | n/a | 72 (78) | 76 (81) | 82 (87) | 83 (87) | 76 (83)
Barmer (Deemed) | 1,080 | Total | 87 | 86 | 82 | 85 | 86 | 83 | 78 | 81 | 87 | 87 | 83
Vijayanagar | 860 | LT | n/a | n/a | n/a | n/a | n/a | n/a | 73 (86) | 118 (118) | 99 (100) | 99 (100) | 100 (100)
Vijayanagar | 860 | Total | 100 | 99 | 77 | 50 | 37 | 34 | 40 (44) | 54 (55) | 58 (59) | 59 (59) | 77 (77)
KSK Mahanadi | 1,800 | LT | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 79 (99)
KSK Mahanadi | 1,800 | Total | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 79 (99)
Utkal (Ind-Barath) | 700 | Total | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 63 (70) | 64 (64)
Nandyal | 18 | LT | n/a | n/a | n/a | n/a | n/a | n/a | 94 (100) | 74 (100) | 5 (100) | 65 (100) | 67 (100)
Total Thermal | 3,158 – 5,658 | LT | n/a | n/a | n/a | n/a | n/a | n/a | 67 (74) | 85 (94) | 79 (94) | 82 (90) | 83 (93)
Total Thermal | 3,158 – 5,658 | Total | n/a | n/a | n/a | n/a | n/a | n/a | 55 (60) | 63 (69) | 72 (84) | 73 (79) | 77 (85)
Hydro (Karcham-Wangtoo + Baspa) | 1,345 – 1,391 | Total | n/a | 14 | 14 | 14 | 14 | 15 | 14 | 15 | 14 | 13 | 13
Solar (various) | 9 – 680 | Total | n/a | n/a | n/a | n/a | n/a | 20 | 18 | 24 | 29 | 29 | 26
Wind (organic, ex-Mytrah) | 0 – 3,146 | Total | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 30 | 25 | 16
Acquired RE – Wind (Mytrah) | 1,331 | Total | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 8 | 15 | n/a
Acquired RE – Solar (Mytrah) | 422 | Total | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | 25 | 22 | n/a

## Notes & Sources
JSW Energy - PLF Data: Notes & Sources
Metric definitions
PLF (Plant Load Factor) | Actual energy produced as a % of max possible energy if the plant ran at 100% capacity for the period.
Deemed PLF | Availability-based PLF; used for two-part tariff PPAs where capacity charges are based on declared availability.
LT (Long Term) | PLF computed only for capacity contracted under long-term PPAs.
Total | PLF computed on the entire installed capacity (LT + ST/merchant).
Format / Reporting Changes
FY15-FY21 presentations | PLF presented as a simpler 'Power Generation' summary table; LT vs Total split introduced progressively from FY21.
FY22 onwards | Standardized 'Operational Performance - PLF' appendix table with consistent LT / Total / Deemed PLF breakdown.
Capacity changes over time
Ratnagiri (1,200 MW) | Imported coal; operational since 2010.
Barmer (1,080 MW) | Lignite; operational since 2009. Reported 'Deemed PLF' only until FY20; LT-Total split from FY21.
Vijayanagar (860 MW) | Imported coal + captive. LT capacity share varied with PPA mix (35-56% over years).
Nandyal (18 MW) | Small captive TPP.
Hydro (1,345/1,391 MW) | Karcham-Wangtoo (1,091 MW) + Baspa (300 MW); acquired by JSWEL w.e.f. 1-Sep-2015.
Solar | 9 MW captive until FY21; Vijayanagar 225 MW solar commissioned Apr-2022; Mytrah 422 MW acquired Mar-2023; organic additions thereafter (~680 MW by FY25).
Wind | Mytrah 1,331 MW wind acquired Mar-2023. SECI IX/X organic wind progressively commissioned FY23-FY25 (total ~3,146 MW by FY25).
KSK Mahanadi (1,800 MW) | Acquired via NCLT on 6-Mar-2025; FY25 PLF reflects full-year operations (acquisition date only impacts consolidation, not plant PLF).
Utkal (700 MW) | Ind-Barath revival; Unit-1 (350 MW) CoD Jan-2024, Unit-2 (350 MW) CoD Q4 FY25.
Source URLs
Q4 FY25 Presentation | https://group.jsw.in/sites/default/files/assets/industry/energy/IR/Financial%20Performance/Financials/FY_24_25/Q4/JSWEL_Results-Presentation_Q4FY25.pdf
Q4 FY24 Presentation | https://www.jswenergy.in/sites/default/files/assets/industry/energy/IR/Financial%20Performance/Financials/FY_23_24/Q4/JSWEL-Results-Presentation-Q4FY24.pdf
Q4 FY23 Presentation | https://www.jswenergy.in/sites/default/files/assets/industry/energy/IR/Financial%20Performance/Financials/FY_22_23/Q4/JSWEL-Results-Presentation-Q4FY23-v2.pdf
Q4 FY22 Presentation | https://www.jswenergy.in/sites/default/files/assets/industry/energy/IR/Financial%20Performance/Financials/FY_21_22/Q4/JSWEL%20Results%20Presentation%20-%20Q4FY22.pdf
Q4 FY21 Presentation | https://www.jswenergy.in/sites/default/files/assets/industry/energy/IR/Financial%20Performance/Financials/FY_20_21/Q4/Q4FY21%20-%20JSWEL%20Results%20Presentation.pdf
Q4 FY20 Presentation | https://www.jswenergy.in/sites/default/files/assets/industry/energy/IR/Financial%20Performance/Financials/FY_19_20/Q4/JSWEL_Q4FY20_Results_Presentation.pdf
Q4 FY19 Presentation | https://www.jswenergy.in/sites/default/files/assets/industry/energy/IR/Financial%20Performance/Financials/FY_18_19/Q4/JSWEL_Q4FY19_Results_Presentation.pdf
Q4 FY18 Presentation | https://www.jswenergy.in/sites/default/files/assets/industry/energy/IR/Financial%20Performance/Financials/FY_17_18/Q4/Results%20Presentation.pdf
Q4 FY17 Presentation | https://www.jswenergy.in/sites/default/files/assets/industry/energy/IR/Financial%20Performance/Financials/FY_16_17/Q4/JSW%20Energy%20-%20Q4%20FY17%20Results%20Presentation.pdf
Q4 FY16 Presentation | https://www.jswenergy.in/sites/default/files/assets/downloads/steel/Financials/Investor%20Presentations/2015-16/Q4/Results%20Presentation.pdf
Q4 FY15 Presentation | https://www.jswenergy.in/sites/default/files/assets/downloads/steel/Financials/Investor%20Presentations/2014-15/Q4/Results%20Presentation.pdf
Key caveats
n/a in tables | Either (i) facility/metric not yet operational for JSWEL, or (ii) not separately disclosed in that year's presentation in the standard table format.
Barmer pre-FY21 | Only Deemed PLF reported; actual PLF not disclosed separately before FY21.
Ratnagiri LT pre-FY20 | Separate LT-only PLF not disclosed in pre-FY20 presentations; only plant-total PLF reported.
Hydro FY15-FY16 | Acquired 1-Sep-2015; FY16 figure represents only post-acquisition period.